# PVC Compact Ball Valve

Size(s): 1/2-Inch, 3/4-Inch, 1-Inch, 1-1/4-Inch, 1-1/2-Inch, 2-Inch, 2-1/2-Inch, 3-Inch, 4-Inch, 6-Inch

Color(s): White, Gray

End Connection(s): Socket x Socket, Thread x Thread

Schedule: Suitable for both SCHEDULE 40 and 80 pipe

Working Pressure: 150 PSI @ 73° F

Functionality: Fully replaceable handles

Material Body: Virgin PVC

Material O-Ring: EPDM

Material Seat(s): Thermo Plastic Elastomer (TPE)

| Stylistic Specifications | Operational Specifications |
| --- | --- |
| Color(s): White, Gray Style: Socket or Thread Size(s): 1/2-Inch - 6-Inch Suitable for Schedule 40 and 80 Pipe | Rated 150 PSI at 73° F EPDM O-Rings Thermo Plastic Elastomer (TPE) Seats Fully Replaceable Handles |

## Details

PVC Standard Compact Ball Valve is the industry standard that meets or exceeds other brands and manufacturers in performance, workmanship, price, and quality.   This product is manufactured with virgin PVC resin and utilizes the Red Flag Products high quality injection molding process.

Great for medium and high stress environments where the durability of PVC Light-Duty Compact Ball Valves is insufficient while higher quality Single and True Union Ball Valves or Butterfly Valves is not required.  PVC Standard Compact Ball Valves strike the balance between quality and functionality while surpassing its peers in several key metrics.

Industries: Aquarium, commercial plumbing, drainage, fluid handling, fountain, industrial & scientific, irrigation, lawn & garden, pond, pool, ranch, residential plumbing, spa, sprinkler

- Utilize EASY quarter-turn operation for turning on, controlling, and turning off water flow

- This product is an industry favorite due to its long lasting quality and low associated price

- Strong internal valve stem ensures long-term usage without interruption

- Red Flag quality O-rings and seats provide a watertight seal without dripping or leakage

- Can be used for BOTH Schedule 40 (Sch 40) and Schedule 80 (Sch 80) applications and glues or threads directly onto pipe

- Handles are all fully replaceable

- Sizes 2-1/2-Inch, 3-Inch, and 4-Inch have high torque lever handles

- Virgin, high-quality material is used throughout the valve

- Comes ready to install with a durable and thick walled body in the widest variety of sizes, colors, styles, and handles to choose from

| PVC COMPACT BALL VALVES |  |  |  |
| --- | --- | --- | --- |
| Specification of Materials |  |  |  |
| Number | Part | Material | Quantity |
| 1 | Body | PVC | 1 |
| 2 | Seat, Seal | TPE, PTFE | 2 |
| 3 | O-Ring | EPDM | 1 |
| 4 | Ball | PVC | 1 |
| 5 | Handle | ABS | 1 |
| 6 | Cap | ABS | 1 |

| PVC COMPACT BALL VALVES |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Dimensions |  |  |  |  |  |  |
| Size (In.) | A (In.) | B (In.) | C (In.) | D (In.) | E (In.) | F (In.) |
| 1/2" | 1.259 | 0.840 | 0.570 | 3.149 | 2.696 | 2.531 |
| 3/4" | 1.448 | 1.050 | 0.787 | 3.622 | 3.169 | 2.992 |
| 1" | 1.771 | 1.314 | 0.944 | 4.173 | 3.937 | 3.700 |
| 1 1/4" | 2.106 | 1.659 | 1.181 | 4.429 | 4.251 | 4.055 |
| 1 1/2" | 2.440 | 1.900 | 1.338 | 5.078 | 4.251 | 4.409 |
| 2" | 2.972 | 2.375 | 1.732 | 5.826 | 5.433 | 4.960 |
| 2 1/2" | 3.759 | 2.874 | 2.200 | 6.988 | 7.578 | 6.535 |
| 3" | 4.212 | 3.500 | 2.795 | 8.228 | 7.578 | 7.125 |
| 4" | 5.295 | 4.500 | 3.385 | 11.574 | 10.315 | 9.291 |
| 6" | 7.299 | 6.645 | 5.133 | 16.023 | 11.885 | 11.791 |
| *Measurements are to the nearest 100th and should be used as estimations. |  |  |  |  |  |  |
| **For exact measurements please contact our Technical Specialists |  |  |  |  |  |  |

| PVC COMPACT BALL VALVE |  |  |  |
| --- | --- | --- | --- |
| ITEM # | DESCRIPTION | WEIGHT oz | D x W x H inches |
| 1005WS | ½” White Socket | 3.1 | 3.13 x 1.63 x 2.5 |
| 1005WT | ½” White Thread |  |  |
| 1005GS | ½” Gray Socket |  |  |
| 1005GT | ½” Gray Thread |  |  |
| 1007WS | ¾” White Socket | 4.9 | 3.75 x 2 x 3 |
| 1007WT | ¾” White Thread |  |  |
| 1007GS | ¾" Gray Socket |  |  |
| 1007GT | ¾” Gray Thread |  |  |
| 1010WS | 1” White Socket | 8.2 | 4.25 x 2.38 x 3.75 |
| 1010WT | 1” White Thread |  |  |
| 1010GS | 1” Gray Socket |  |  |
| 1010GT | 1” Gray Thread |  |  |
| 1014WS | 1 ¼” White Socket | 11.2 | 4.5 x 2.63 x 4.13 |
| 1014WT | 1 ¼” White Thread |  |  |
| 1014GS | 1 ¼” Gray Socket |  |  |
| 1014GT | 1 ¼” Gray Thread |  |  |
| 1015WS | 1 ½” White Socket | 15.3 | 5.13 x 3 x 4.5 |
| 1015WT | 1 ½” White Thread |  |  |
| 1015GS | 1 ½” Gray Socket |  |  |
| 1015GT | 1 ½” Gray Thread |  |  |
| 1020WS | 2” White Socket | 23.8 | 5.88 x 3.63 x 5 |
| 1020WT | 2” White Thread |  |  |
| 1020GS | 2” Gray Socket |  |  |
| 1020GT | 2” Gray Thread |  |  |
| 1025WS | 2 ½” White Socket | 47.3 | 9.88 x 4.5 x 6.63 |
| 1025WT | 2 ½” White Thread |  |  |
| 1025GS | 2 ½” Gray Socket |  |  |
| 1025GT | 2 ½” Gray Thread |  |  |
| 1030WS | 3” White Socket | 62.7 | 10.63 x 5.25 x 7.25 |
| 1030WT | 3” White Thread |  |  |
| 1030GS | 3” Gray Socket |  |  |
| 1030GT | 3” Gray Thread |  |  |
| 1040WS | 4” White Socket | 146 (nw) 158 (gw) | 14 x 6.5 x 9.25 |
| 1040WT | 4” White Thread |  |  |
| 1040GS | 4” Gray Socket |  |  |
| 1040GT | 4" Gray Thread |  |  |
| 1060WS | 6” White Socket | 313 (nw) 348 (gw) | 19 x 9 x 12 |
| 1060WT | 6” White Thread |  |  |
| 1060GS | 6” Gray Socket |  |  |
| 1060GT | 6” Gray Thread |  |  |